| Title: GC1 Risk Assessment for General Use of Centre – Version 2 This assessment covers all aspects in the general use of the Galleon Centre. Please note a number of hazards may have been identified in additional Centre wide risk assessments and they are regularly referred to in this assessment. The information contained below details the control measures to control, reduce and where possible eliminate risks in this environment. These may not be exhaustive and further control measures for the Centre are available from our Risk Assessment database. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Hazard | People at risk | Control Measures in place | Additional Controls | Severity | Probability | Risk Rating |
| Staff lack of experience Young age of some staff Incorrect work procedures | Members of the Public Staff | All staff will get an induction training period where they will shadow experienced members of the department or a supervisor. Staff will have a training program in place to ensure they are prepared for the work scope to be undertaken All staff will be made aware of the Emergency Action Plan and their roles should an emergency occur Incidents are staged through normal working hours including fire drills and evacuations to ensure staff are prepared for Emergency Scenarios. Training records to be maintained and recorded. Note: Admissions Policy in place for the Centre to ensure customer and staff safety | - Documents to be updated (3 months 17 July 2024) - Work placement process - DH - Working at height risk assessments - CC - Contractor safety risk assessment – SM (Done) - CCTV Policy - SM - Lone worker policy - SM - Bomb Threat Policy - SM - Centre wide NOPs – DH and CC - Conditions of hire - SM - Safe systems of work for processes like cleaning etc. – DH and CC - Safe systems of work for all maintenance works etc – DH and CC | 4 | 2 | M |
| Lack of supervision Inadequate staffing levels No management onsite to deal with non-adherence with guidelines Absence of, or inadequate response of staff in an emergency Overcrowding including congestion in the Reception area | Members of the public Staff | The NOP requires a Duty Manager to be onsite at all times. Maximum Capacity has been allocated for individual areas to minimise overcrowding - Swimming Pool: 198 - Swimming Pool Spectator Area: 50 - Gym: 150 - Ice Rink: 250 plus 160 spectators (100 standing 60 seated) - Aerobics Studio: 40 - Function Hall: 25 - Games Hall: 108 - Steamroom and Sauna including the lounge area: 20 - Cordwainer Bar: 70 - Bowls Hall: 195 - Reception Area: 100 - Car Park spaces: 65 cars plus occupants - Admin Office: 15 External hirers should provide risk assessments of their own activities or create RAs in partnership with the Centre. The number of staff onsite can vary depending on the activity. Duty Manager will take control of Centre as per Emergency Action Plan ( fire safety standard) Duty Manager or Centre Management will take appropriate action as per admission policy in case of any user infringing on guidelines for using the Centre There is a two-way radio system to ensure staff can contact the reception, Duty Manager and Centre Management for support if needed Centre Attendants (Lifeguards) should be equipped with whistles. This is a requirement for the role Duty Manager/Senior Centre Attendant to maintain order during busy periods All CCTV coverage is carried out in compliance with The Galleon Centre Policy on CCTV Occupancy Rates calculated from BS 8300-2:2018 using following details and applying further reductions due to physical features and other Centre considerations - Swimming Pool: 3 sqm per bather - Swimming Pool Spectator Area: 2 sqm per person - Gym: 5 sqm per person - Aerobics Studio: 5 sqm per person - Function Hall: 5 sqm per person - Games Hall: 5 sqm per person - Steamroom and Sauna: 5 sqm per person - Cordwainer Bar: 1 sqm per person - Bowls Hall: 2 sqm per person - Reception Area: 1 sqm per person - Car Park spaces: 1 Car per space - Admin Office: 6 sqm per person - Ice rink: 6 sqm per person - Ice rink spectator area: 60 number of seats |  | 4 | 2 | M |
| Slips, Trips, and Falls Slipping on wet floors Trip hazards and trailing cables Physical features Weather conditions in external areas Pot holes and other hazards in the car park Slippery surfaces in the reception area | Members of the Public Staff | There are handrails in place by the steps leading to the first floor to assist customers. These handrails are checked monthly by maintenance Minimal equipment is allowed in the passageways. Centre Attendants are trained in their induction periods to effectively check circulation spaces to identify such hazards Cleaning team to use wet floor signs when cleaning circulation spaces. Cleaning of high traffic spaces to be left to closing up periods to avoid risk of slips Centre attendants (Lifeguards) are trained to hazard spot and make safe any items that could pose a tripping hazard Staff wear suitable shoes ( trainers or safety shoes) Suitable cleaning products used in passageways and circulation areas Buffalo tape has been used to seal areas of the lino where it has lifted due to install issues and wear& tear. These will be regularly checked and renewed. Appropriate temporary signage to be used in areas where slips and trips are possible including stairwells, fire doors, reception entry and exit doors Centre attendants (Lifeguards) will encourage customers to avoid running in the Centre Salt/Grit Bins for winter conditions. Staff to ensure salt/grit is used when necessary. Regular checks of surface by Maintenance Department External lights to be turned on out-with day light hours Maintain a high standard of cleanliness Ensure entrance mats in place to dry feet on entry The Centre and its physical condition is subject to a routine inspections, carried out by the Duty Manager and Centre Management team, this is to ensure it is fit for use. It is also done to highlight any cleanliness or maintenance issues that will need to be addressed. | - Governance process for evidencing ladder checks including external and internal fixed ladders and portable ladders – DH (17 July 2024) | 3 | 2 | L |
| Equipment Electrical equipment including hair straighteners in the female changing rooms Electrical burns Damaged or faulty equipment Incorrect use of equipment Fire equipment Limited access to safety equipment including life buoys, floatation devices and other rescue equipment Deterioration or misuse of recreational equipment | Members of the Public Staff | All equipment shall be visually checked before use and not used if there is sight of damage or they are faulty. Guidelines on what equipment can be used and when is available on-site is in the NOP for the relevant areas Place sockets above floor level so they are less likely to get wet Make sure wires are not trailing over the floor Placing where possible all electrical equipment within lockers, office spaces and cupboards to prevent unauthorised access Keeping equipment as close as possible to the wall Place signage to show location of fire equipment All electrical kit to be PAT tested every year and visually checked prior to use for any visual damage Water cooler to be kept at a safe location and checked for hygiene. Vicinity to be kept clear of any spills. Training and refresher training on the use of equipment should be supplied to staff on an ongoing basis and at weekly staff training. Equipment must be stored in a way that it will not become a hazard to the public i.e. stored onto the wall, stored in a box etc. Proper supervision of the Centre at all times ensuring all equipment remains intact and in-place at all times. All faulty equipment will be removed from service and repaired/replaced. Regular checks will highlight any faults, this will be reported to the Duty Manager who can then assign for repair or replacement Fixed wire testing carried out in for the Centre every three years by a registered contractor ( annually for the swimming pool) All electrical equipment on poolside will be used in line with an RCD (Residual Current Device). There should be no exposed or trailing wires. Refer to Electricity at work guidelines for more information https://www.hse.gov.uk/pubns/priced/hsr25.pdf All Fire Fighting and life-saving equipment either purchased by the Centre or brought into the Centre for use by customers must been the relevant British Standard or equivalent- (BS –EN)- | - Purchase of protection covers for sockets sitting in the passageway at low level or consideration for removal of these sockets – SM (17 May 2024) | 3 | 2 | L |
| First Aid and Personal Injuries Misadventure – incident resulting in injury Medical conditions Communicable diseases, skin irritation Collision in car Park Moving building fixtures including Doors and turnstiles – Crushing or trapping injuries | Members of the Public Staff | Family groups and other groups should supervise children according to the terms and conditions outlined on the admissions policy All Centre attendants receive regular First Aid and CPR training Portable First Aid kit and Defibrillator located at reception area. Senior Centre Attendants should maintain radio-access to Reception or duty managers - caps Staff should encourage customers to discuss any medical conditions which should be passed on to the relevant department for instance to the Pool side staff. Signage to warn drivers of maximum speed. Install Automatic Doors/keep doors in open position Ensure Automatic Doors are maintained and serviced regularly Install Finger-shields in high traffic areas or where recommended by the H&S Advisor. This is not mandatory for all doors. Finger-shields are subject to damage due to the constant wear and tear and there may be periods when they are getting replaced. Kickplates and Handles to meet DDA specifications Doors left in open position ( held by magnetic holdbacks released in the event of fire) AED Defib in the reception | - Process for checking finger shields and list of locations – DH to issue information and management to agree final list (17 July 2024) | 3 | 3 | M |
| Manual handling injury Lifting equipment, supplies and other pieces of equipment around the Centre Incorrect Lifting technique Lifeguards performing first aid | Members of Public Staff | Manual handling training is provided to all staff. All personal lifting equipment i.e. EVAC Chair will be inspected in line with applicable standards. Portable trolleys are used when transporting supplies throughout the Centre. Putting on and taking off the pool covers and nets must be carried out by a minimum of two staff. Where a manual handling task has been deemed unsafe, Management will have a duty to provide appropriate lifting and moving equipment including (not exhaustive) - Pallet trucks - Manual hoist - Stair lifts - Evac Chairs - Trolleys - Automated equipment such as pool covers All jobs carried out in compliance with Manual Handling regulations- https://www.hse.gov.uk/pubns/priced/hsg179.pdf https://www.hse.gov.uk/toolbox/manual.htm |  | 3 | 2 | L |
| Microbiological hazards Cryptosporidium, Pseudomonas aeruginosa, E coli, Legionella | Members of the Public Staff | Maintenance team to carry out Flushing of outlets not in use Legionella checks in place with external authorised auditor and testing company (WCS services via Johnson Controls.) |  | 4 | 1 | L |
| Chemical contamination Toxic gas release Unauthorised disposal of chemicals |  | All Centre attendants (Lifeguards) trained in chemical storage and handling. All spillages will be dealt with in accordance with COSSH Risk Assessment. All chemicals kept locked away from drain points and water sources. The chemicals are surrounded by a bund to prevent spillage and contamination. In the event of cross contamination of chemicals resulting in toxic fumes the EAP highlighted in the “swimming pool information and operation” file must be followed. Please refer to the document for information PPE provided and maintained for staff working in the plant room Centre attendants (Lifeguards) are trained in an emergency procedure for dealing with a gas leak included in the PSOP Alarm/Detector There is a C02 detector in the pool plant room that will notify staff of any leakages from the cylinder COSHH Assessment A COSHH assessment of the C02 drawn up in line with the MSDS is implemented. One of the controls measure being that only a certified BOC operative will re-fill the cylinder COSHH Assessments available in the plant room and to include an SOP for any emergency procedures that may be required PPE Checks carried as part of the Centre’s Planned Preventative Maintenance Programme. | - Spill kits in plant room – Memo to be drafted for use by CC (17 July 2024) |  |  |  |
| Centre customers Users Medical conditions Unruly Behaviour/ horseplay Youth and Inexperience Safeguarding: Vulnerable children left unsupervised exposed and subjected to significant harms as Use of alcohol or drugs by users Accessibility issues to the Centre Violence against staff including assaults against Lone working staff Violence and theft involving staff dealing with cash | Members of the Public Staff | Customers with medical conditions such as epilepsy should be encouraged to share this information with lifeguards. Management and staff should encourage adherence to Centre rules and make sure that customers are aware of these. Staff are trained to spot and control unruly behaviour as part of their training. The NOP includes an EAP for dealing with unruly behaviour in the Centre Strict rules enforced governing restrictions in horseplay in and around the Centre Parents or supervisors are to actively supervise their children at all times while in the Centre Customers are not to use the Centre and its facilities whilst under the influence of alcohol or any other prohibited substance -customers suspected of being under the influence on arrival in to the Centre will not be permitted into the pool Staff are to be alcohol free (0.00 blood alcohol level) at all times whilst on duty Children under 8 are not to be in the Centre without supervision of a guardian Disabled Parking as close to Centre as possible. Kerbs lowered for wheelchair access. When moving a wheel chair user, two staff are required. One of the member of staff should stand at the back of chair, colleague at front and establish a balance point. When dealing with a customer who has difficulty with movement please ensure two staff are available to assist Passenger lift in place for customers with mobility issue. Evacuation Chairs only to be used in emergency situations Any other customer with mobility issues but not in a wheelchair must be accompanied upstairs Lone working to be avoided or carried out for short period of time. In case of lone working ( for instance duty manager opening and closing up the Centre) - Staff to remain in Radio Contact - Suitable lighting inside and outside of building - Comply with Safe Working Practices - Where Possible Keyholder should be accompanied - Always have keys ready when approaching premises Staff trained in Customer Care Use of CCTV camera system. Lone working tasks including opening and closing performed by different Staff and not only one person. Employees to remain in radio contact at all times Reception restricted to certain staff members only Panic buttons checked on a weekly basis |  | 3 | 2 | L |
| Fire risk and Power outage | Members of the Public Staff | There is an emergency action plan included for fire emergency or lighting failure, and Staff receive induction and yearly refresher training on this. Fire alarms maintained by external specialist provider Drills conducted every 6 months ( unless a real/false incident leads to a Centre evacuation) Power failure and Fire Safety standard has been released to all staff Fire register in place with all sections being checked every quarter Fire alarm and monitoring system installed and monitored by AFS |  | 5 | 1 | L |

| ASSESSOR(s) PRINT NAME/JOB TITLE: | S MATHEW General Manager | ASSESSOR(S) SIGNATURE: | S Mathew | ASSESSMENT DATE: | 11/10/2021 |
| --- | --- | --- | --- | --- | --- |
| MANAGER PRINT NAME/JOB TITLE: | D HASSON Dep General Manager¦ C COLLINS/ OPERATIONS MANAGER | MANAGERS SIGNATURE: | D Hasson/ C Collins | REVIEW DATE: | 17/04/2024 |