| Title: GC5 Working in Confined Spaces or Restricted Spaces – version 2 This assessment details control measures in place for working in restricted spaces in the Centre including Plant room, Chemical Room, void spaces, electrical spaces and AHU spaces. Due to multiple access and egress issues, exposure to toxic chemicals, containing high risk equipment (including electrical Distribution Boards, cabinets and other heavy machinery and plant, multiple spaces are deemed as restricted spaces. To minimise the risks, access will be controlled and safe systems of work and other control measures will be in place. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Hazard | People at risk | Control Measures in place | Additional Controls | Severity | Probability | Risk Rating |
| Use of power/hand tools Cuts and abrasions Dust and debris | Staff Contractors | - When using hand tools ensure that PPE is worn at all times (gloves, glasses and other appropriate PPE) - Ensure that tools are stored in a safe place and covers placed where appropriate. - All hand tools to be used only by competent personnel. - Contractors to provide company and work specific Risk Assessment and Method Statement - Prior to use staff will make a visual check of the equipment they are to use. If there is any evidence of damage to the case, cabling or plug return to toolbox for off maintenance inspection / repair - Use only 110v tools with transformer / RCD or battery powered tools. |  | 3 | 2 | L |
| Use of mobile phones Loss of concentration | Contractors Staff | - If used all mobile telephones must be used from a secure and safe position and not answered during work phase. |  | 3 | 2 | L |
| Materials Storage Crushing injury Blocked egress Fire risk | Staff Contractors | - Avoid storing material in restricted access rooms - All materials must be stored safely and out of pedestrian routes and walkways - All materials must be stored on a flat surface when not being used - Reduce use of combustible packaging including cardboard |  | 5 | 1 | L |
| Restricted Access egress Restricted head height Pipework and ducting causing obstructions Difficult egress in case of emergency | Staff Contractors | - Attend site induction and ensure all personnel aware of building emergency procedures at all times. - Ensure all personnel are signed in with reception and receive instruction from host regarding designated work area emergency signals/alarms. - Identify and assess access routes prior to works commencing and ensure all trip/fall hazards identified and if possible removed. |  | 4 | 2 | M |
| Emergency Evacuation Noisy environment | Staff Contractors | - Ensure alarm signals are known and audible / visible. If not, agree means of notification in event of emergency with site contact (host or line manager). |  | 5 | 1 | L |
| Confined spaces Restricted spaces | Staff Contractors | - There are NO spaces in the Centre judged to be a confined space. - The list below are deemed as restricted spaces Location number; Space/Location; Authorised Personnel. Lift store; Maintenance Duty Manager. Beer Cellar; Bar Steward/supervisor General Manager Duty Manager Bar staff Contractors with an authorised person. Gas burner room outside bowls hall; Maintenance Duty Manager Senior Centre Attendant. Steamroom sauna plant room; General attendants Senior Centre attendants/ Centre attendants Maintenance Duty Manager. Long store; Cleaners Maintenance Senior Centre attendants/ Centre attendants Duty Manager. Sub station; Maintenance Duty Manager. Chemical Store; Senior Centre Attendant Maintenance Duty Manager. Plant Room; Centre attendants ( for water balance checks) Senior Centre Attendant Maintenance Ice Masters Duty Manager. DHW Plant room; Centre attendants Senior Centre Attendant Maintenance Duty Manager. Electrical cabinet beside spectator area; Maintenance Duty Manager. Plant room above gym; Senior Centre Attendant Maintenance Duty Manager. Space above female squash changes; Senior Centre Attendant Maintenance Duty Manager. Electrical cabinet near lift on first floor; Maintenance Duty Manager. Bonspiel Cellar; Bar Steward/supervisor General Manager Duty Manager. Roof ( no lone working); Maintenance Duty Manager. AHU Space in aerobics studio; Senior Centre attendant Maintenance Duty Manager. Void space; Senior Centre attendant Maintenance Duty Manager. Kids club store (near dryside toilets); Senior Centre attendant Maintenance Duty Manager. First Floor Kitchen; Senior Centre attendant Maintenance Duty Manager. Fittech; Senior Centre attendant Maintenance Duty Manager NHS (during vaccinations). |  | 0 | 0 | NA |
| Infection Legionella COVID19 Hepatitis Sepsis | Contractors Staff | - Always cover cuts and abrasions with waterproof dressings prior to commencing work. - Any cuts must be immediately treated by first Aider. If in doubt do it anyway! - If any contamination suspected medical advice must be received and a blood test taken to confirm. - Always wear gloves when handling any materials likely to cause a minor cut or graze. - Always wear overalls or coveralls and if contamination is suspected bag and wash |  | 4 | 1 | L |
| Manual Handling | Staff Contractors | - All personnel have received manual handling training in accordance with current regulations. - All personnel will carry out a site risk assessment of access routes and ensure area clear of obstructions. - All personnel will wear foot and hand protection. - Do not carry loads that will obscure vision. - Loads will be reduced to a minimum and moved in stages. - Manual handling will be reduced where possible by using additional lifting aids - All lifting aids and working platforms will be regularly inspected. This is done usually using our engineering insurance firm allocated via the Insurance company |  | 3 | 2 | L |
| Use of lifting equipment | Staff Contractors | - All lifting equipment must be visually inspected for faults and if in doubt should not be used. - All lifting equipment must be marked with safe working load which must never be exceeded. - Ensure all loads are stable and secure prior to lift. - Never stand under a suspended load. - All lifting accessories should be marked with safe working load or accompanied by a test certificate indicating the SWL. |  | 3 | 2 | L |
| Slips Trips and falls | Staff Contractors | - Ensure adequate lighting prior to commencing work - Ensure workplace is kept tidy - Any spillages to be cleaned and appropriate signage used - Contractors to clean up prior to end of shift. |  | 3 | 2 | L |
| Working at height Dropped tools Falls | Staff Contractors | - All personnel have received Work at Heights Training. - Personnel to ensure they do not lean over guard rails. - Personnel to keep in radio contact with duty manager at all times - Contractors to sign in with reception and ensure they keep duty managers aware of work place and scope |  | 5 | 1 | L |
| Electricity Electrocution Fire and explosion | Staff Contractors | - Staff to have a risk assessment for work carried out - Tag out and isolation procedures to be in use when working on electrical systems - Authorised Personnel only allowed in restricted spaces - Personnel and contractors to have appropriate qualifications for undertaking tasks - Correct RAMS and PPE to be used for task undertaken |  | 5 | 1 | L |
| Exposure to hazardous substances Asbestos Chemicals | Staff Contractors | - Appropriate COSSH assessments in place - Asbestos survey completed for building - Appropriate PPE to be worn at all times - Management to ensure correct storage of chemicals at all times - All restricted spaces to be locked and keys to be held by authorised personnel only |  | 5 | 1 | L |

| ASSESSOR(s) PRINT NAME/JOB TITLE: | S MATHEW General Manager | ASSESSOR(S) SIGNATURE: | S Mathew | ASSESSMENT DATE: | 11/10/2021 |
| --- | --- | --- | --- | --- | --- |
| MANAGER PRINT NAME/JOB TITLE: | D HASSON Dep General Manager/ C COLLINS/ OPERATIONS MANAGER | MANAGERS SIGNATURE: | D Hasson/ C Collins | REVIEW DATE: | 17/04/2024 |