	COSHH/DSEAR ASSESSMENT RECORD
	
[image: image22.png]





	Product:
	Compressed Air

	SDS reference:
	000010021701
	Date completed:
	06 May 2024

	SDS date:
	12.06.2017
	Date for review:
	May 2025

	Assessor details:
	Sterry Mathew
	Reviewed by:
	C Collins, D Hasson

	Signature:
	Sterry Mathew
	Signature:
	C Collins/D Hasson

	Activity/details of use:
	Compressed air Cylinders will be used by Sub-Aqua Club Members only. They are trained in appropriate use

	Hazards:
	[image: image2.png]



Explosive


	[image: image3.png]



Oxidising


	[image: image4.png]



Flammable


	[image: image5.png]



Harmful to environment
	[image: image6.png]



Gas under pressure



	Indicate “Yes” or “No”:
	
	
	
	
	Yes

	Hazards:
	[image: image7.png]


 Serious long term health hazard


	[image: image8.png]



Toxic


	[image: image9.png]



Harmful /irritant
	[image: image10.png]



Corrosive


	Other

	Indicate “Yes” or “No”:
	
	
	
	
	

	Further information:
	May explode if heated.

	Precautions:
	[image: image11.png]



Gloves


	[image: image12.png]



Protective footwear
	[image: image13.png]



Protective overalls
	[image: image14.png]



Face mask


	[image: image15.png]



Respiratory Protection
	[image: image16.png]



Safety glasses


	[image: image17.png]



Hearing protection

	Indicate “Yes” or “No”:
	Yes
	Yes
	
	
	
	Yes
	

	Further information:
	Club Members should assess how they handle cylinders.

	Storage and transport:
	Store in an area free from fire risk and away from sources of heat, ignition and combustible material. Do not store in conditions likely to cause corrosion. Check periodically for general condition and leakage. Ensure valve guards or caps are in place.

	[image: image18.png]O




	Recycling, disposal:
	Vent to atmosphere in well ventilated place. Refer to EIGA regulations for disposal/recycling.


	Emergency action
	General
	Spillage

	
	Inform the Duty Manager immediately. Only qualified Club members to handle cylinders.
	Evacuate area. Eliminate all sources of ignition. Provide adequate ventilation. 

	[image: image19.png]



	 Fire
	Steps to be taken by staff:
	Emergency services

	
	
	Water, Dry Powder, Foam or Carbon Dioxide can be used to extinguish fire. If safe to do so find and stop source of leak. Spray water from protected distance. If unsafe to do so await Emergency Services.
	Water, Dry Powder, Foam or Carbon Dioxide can be used to extinguish fire. If safe to do so find and stop source of leak. Spray water from protected distance. Standard protective equipment must be used.


	[image: image20.png]



	 First aid
	Eyes
	Adverse effects not expected from compressed Air.

	
	
	Skin
	Adverse effects not expected from compressed Air.

	
	
	Swallowing
	Not considered a potential route of exposure.

	
	
	Inhalation
	 Adverse effects not expected from compressed Air


	Details of substance

	Details of hazardous/dangerous substances which the product contains:
	N/A

	Workplace exposure limits which apply:
	N/A

	Level, type and duration of potential exposure:
	No adverse effects are expected from exposure, however adequate ventilation is recommended.

	Hazardous properties (include hazard statements (HXXX):
	H270: May cause or intensify fire; 
H280: Contains gas under pressure; may explode if heated.

	Manufacturers’ limitations of use:
	Specific Risk Management measures are not required beyond good industrial hygiene and safety procedures.

	Risk control measures for normal use

	Describe any exposure monitoring and health surveillance:
	Low risk substance so N/A

	Risk control measures already in place:
	Only qualified Club members access the cylinders. Only the necessary amount of cylinders are stored onsite. Area is well ventilated and cylinders are secured in locked cage. 

	New or improved risk control measures required:
	N/A

	Chemical reactions to be avoided:
	May react violently with combustible materials and reducing agents. Keep away from oil and grease.

	Maintenance arrangements, e.g. for extraction systems, PPE etc.:
	N/A

	Assessment of risk

	With the above risk controls the risk is:
	High
	
	Medium
	
	Low
	· 

	Is the risk adequately controlled?  
	Yes
	· 
	No
	
	

	Can the substance be substituted for one that is less hazardous?
	Yes
	
	No
	· 
	


Note. A copy of the safety data sheet must be filed with this assessment.
Further information on completing COSHH assessments can be found at http://www.hse.gov.uk/coshh/essentials/index.htm 
Pictograms © Rivington Designs Ltd 
[image: image1][image: image21.png]CrAL £ FON
Cenftre

Tel: 01563 524014  Fax: 01563 572395
E-Mail: adminoffice@galleoncentre.com
www.galleoncentre.com
Scottish Charity Number: SC 00 8314
Trust Established 1985




Every effort has been made by Indicator - FL Memo Limited to ensure that the information given is accurate and not misleading, but Indicator Limited cannot accept responsibility for any loss or liability perceived to have arisen from the use of any such information. Only Acts of Parliament and Statutory Instruments have the force of law and only the courts can authoritatively interpret the law.

