
GALLEON CENTRE

Work at Height Planning Checklist

Example GC6J Changing Swimming Pool Lights
Reviewed on 05.06.24 CC
Signed: Chris Collins
	Location of the proposed work at height: Changing Swimming pool lights


	1. What is the type of work to be carried out at height?

	Brief description of work to be carried out: Changing bulbs over in Swimming Pool light units on wall around and above the pool


	2. What are the ground conditions around the work area?

	Firm and level
	Firm but sloping or uneven
	Soft but level 
	Soft and uneven or sloping

	3. Describe the area of work at height (working from roof to gain access to more elevated structure, use of ladder etc)

	Please state: Working from poolside using an elevated work platform to gain access to the overhead lighting for the pool, approx 20ft above poolside floors



	4. Does the work involve using:

	Hand tools
	Power tools
	Lifting materials
	Storing materials

	Other, please state: Bulbs, circuit breakers


	5. Can work at height be avoided by changing the procedures? (assembly at ground level etc)

	Yes
	No


	6. How many people will need to gain access to the elevated position?

	Please state those who require access: 2 man job, one maintenance assistant on the vertical working platform, a second maintenance assistant at ground level in the event of any issues that may arise.


	7. How long is access at height required? (please insert time against period below)

	Hours
	Days
	Weeks
	Months

	8. What is the most practicable type of access equipment for this work?

	Stepladders (short duration)

Ladders (short duration)
	Mobile Elevating Work Platforms (MEWP)
	Towers
	Scaffold

	Other, please state (i.e. rope access, bosuns chair, etc.):



	9. How often and by whom (competent person) will the access equipment be inspected?

	Please state: Vertical Platform checked twice per year by external contractor and on a quarterly basis by our own maintenance staff


	10. Are there other factors that could affect the safety of the workers or of others from falls or falling objects?

	Working over or near water
	Working over or near traffic
	Working over or near public areas 
	Working over or near excavations

	Other, please state: In most cases this work will be carried out when the pool is closed.


	11. Is the work likely to be affected by the weather conditions? (for work outdoors)

	Rain
	Wind
	Snow
	Ice

	Frost
	Fog/Mist
	Sun
	NO

	12. If the work is to be carried out in hours of darkness, does lighting need to be installed?

	Local lighting
	Flood lighting
	Portable lighting
	None required

	13. What other relevant factors require consideration (chemicals/hot surfaces/anchorage points etc)

	Please state: Dealing with electrical equipment, it is important the unit maintenance are working on is isolated.

	14. What degree of supervision is required for the work activity?

	Constant
	Random spot checks
	Daily
	Weekly

	15. Has the physical health of workers been checked to ensure that they have the required physical stamina and agility to gain safe access to their work positions?

	Yes
	No

	16. What methods of evacuation need to be in place to ensure a safe rescue in the event of an emergency?

	Please state: Maintenance man on ground level is able to manually lower platform in the event of an emergency, all other protocols are covered in the Centre’s action plan.


	17. What personal protective equipment is required?

	Please state: Goggles, If required, Helmet.


	18. What additional fall protection equipment is required? (collective fall protection should always be used in preference to individual protection)

	Guardrails and toe-boards
	Netting
	Air bags
	Restraint/work positioning equipment

	Fall arrest equipment (harnesses and lanyards)
	Rescue equipment, please state: Spinal boards, neck brace, de fibrillators


	19. What, if any, protection measures are required to protect persons from falling objects? (herris fencing etc)

	Please state: N/A


	20. Are all risks satisfactorily controlled?

	Yes
	No


PAGE  
[image: image1.jpg]GALLEON
cenlre




Y:\1. ADMIN GENERAL\1. SAFETY\5. RISK ASSESSMENTS\3. WORKING @ HEIGHTS\2024

[image: image1.jpg]